SPECIFICATIONS

Struture : 	RCC framed structure with anti-termite treatment in foundation.

Floor : 	Vitrified tiles in Drawing –cum-Dining Area, ceramic tiles in Bedroom & Verandah,  antiskid ceramic tiles in Kitchen & Bathroom.

Kitchen : 	Granite platform for cooking with stainless steel sink. feet dado with glazed tiles over Granite platform.

External Wall : Finished with weather coat paint of reputed brand .

Internal Wall : Plaster of Paris inside the flat. Plaster of Paris with a coat of Primer in all common areas.

Doors : 		Sal Wood frame with flush door in all rooms except main door which would be flushdoor with teak veneer on both side.

Windows :  	Anodized aluminium sliding windows .

Lift : 		Passenger lift of reputed make.

Electrical : Copper wiring with modular switches. One AC point in master Bedroom. One T.V. plug point and a telephone point in Drawing Room, one 15 amp Point for Fridge in Dining Area, One 15 amp point for Geyser in one Bathroom, MCB and changeover switches from       HAVELLS.

Water Supply : Deep tube well with overhead reservoir for 24 hours 	water   supply at the entire complex.

Generator : 	24 hours power back up for all common services and specific back up Power for each flat , all at extra charges.

Security : 	24 hours security for the entire complex.